## Slide 1
High-power test of the matching network
FREIA, Uppsala
November 2015

## Slide 2
Matching network: drawing EXIR

## Slide 3
Matching network: low power, matched open
= 352.21 MHz
< -20 dB
Q-factor ~ 10 000
August 2015

## Slide 4
C
C
C
10 kW peak
500 W CW
-9 dB S11
1 hour
ARCING at 20 kW peak
Matching network: high power, matched short
This is a well-coupled resonator.