## Slide 1: Future Meetings and Reporting
Follow-up Meeting UH2015/06
(vertical cryostat, Gersemi)
Rocío Santiago Kern

## Slide 2: Meetings
Progress reports
  A brief report of the activities carried out must be sent to FREIA every week
Follow up meetings
  Kick-off meeting: 10th May at FREIA
  1st follow up meeting: 21st June at Cryo Diffusion’s premises
  Following meeting: after review of drawings (August)
Combined with some meetings: longer stays for FREIA personnel to get to know the system while is being built

## Slide 3: Reminder

## Slide 4: Tests
Dimensional controls
Helium leak tests after three thermal shocks
Vacuum performance of VB and VCS
Pressure tests for the cold vessel
Correct assembly of all parts and the VCS with the different inserts
Correct lifting of all equipment
  VB
  VCS with each insert
Control system: functional tests of all valves, instrumentation, etc
Complete cryostat and control system
  Safely work in all modes of operation
  Switch between modes of operation
  Proper reaction to interlock signals
  Produce interlocks to the cryogenic system
All tests must be followed by documentation
  Prior to testing: protocol for testing
  After testing
    Results
    Compliance to specifications
    If deviations observed, the nature of the deviations and the proposed solutions