## Slide 1: Neutron Scattering Instruments and Detectors at the ESS
Anton Khaplanov
On behalf of ESS Detector Group and Collaborators
www.europeanspallationsource.se
SKS-KF, 2018 10 17, Uppsala
Amongst others…

## Slide 2: Outline
Why neutrons?
ESS construction
Neutron scattering Instruments
Spectroscopy
Reflectometry
SANS
Multi-Grid Detector
Multi-Blade Detector
SoNDe
Detector Development
Beyond initial instruments

## Slide 3: Outline
Why neutrons?
ESS construction
Neutron scattering Instruments
Spectroscopy
Reflectometry
SANS
Multi-Grid Detector
Multi-Blade Detector
SoNDe
Detector Development
Beyond initial instruments

## Slide 4: Why Neutron scattering? Neutron and x-ray complementarity
x-ray cross section
H
D
C
O
Al
Si
Fe
neutron cross section
x-ray
neutron
x-ray
neutron
Gd

## Slide 5: Neutron and X-ray sources Often built close to each other
ISIS neutrons source and
Diamond synchrotron
Didcot, UK
ILL neutron source and
ESRF synchrotron
Grenoble, France

## Slide 6: Neutron and X-ray sources Often built close to each other
6
Proton Beam
Target
Instruments
MAX IV
ESS
E 22
Lund

## Slide 7: ESS, October 2018
www.europeanspallationsource.se

## Slide 8: Instruments at the ESS
15 instruments in construction scope
8 instruments operational for start of user program (August 2023).
22 instruments in full scope
42 beam ports in total – further instruments possible (some ports will not be accessible)

## Slide 9: What will it look like?
Example: the Japanese spallation source at J-PARC

## Slide 10: Outline
Why neutrons?
ESS construction
Neutron scattering Instruments
Spectroscopy
Reflectometry
SANS
Multi-Grid Detector
Multi-Blade Detector
SoNDe
Detector Development

## Slide 11: Detector Development at ESS B10 Detectors as Alternative to He3
3He crisis, demand vs. supply:
Challenge, but also a new opportunity:
In addition to lower cost,
Improve rate performance
Improve position resolution
No requirement for gas purification
No high pressure gas
Several isotopes have capture reactions that allow thermal neutron detection.
Increased flux – increase counting rate:
n + 3He → 3H + p + 0.764 MeV
n +10B → α + 7Li + 2.31 MeV
n + 6Li → t + α + 4.78 MeV
n + 155/157Gd → 156/158Gd + γ/c.e-
n + 235U → f.f. + xn + ~80 MeV

## Slide 12: Detector Development at ESS B10 Detectors as Alternative to He3
n
fragment 1
fragment 2
Anode wires
B-10 film
on 1 side
Multi-Grid:
Multiple layers at normal incidence
Multi-Blade:
Single layers at ~5° incidence
~5% efficiency
in 1 layer
B-10 film
substrate
n
conversion
gas
7Li or α
7Li or α
pressure vessel
n
conversion
3He gas
3H or p
3H or p
3He detector
10B detector
For gas detectors, we use:
10B + n  7Li + α + 2.97MeV
NATB contains ~20% 10B – a relatively inexpensive isotope.
Still working with gas detectors, but now the converter is solid
Anode wires
n
fragment 1
fragment 2

## Slide 13: Outline
Why neutrons?
ESS construction
Neutron scattering Instruments
Spectroscopy
Reflectometry
SANS
Multi-Grid Detector
Multi-Blade Detector
SoNDe
Detector Development
Beyond initial instruments

## Slide 14: ESTIA reflectometer instrument
Slides courtesy of
Artur Glavic <artur.glavic@psi.ch>

## Slide 15: ESTIA instrument design
NBOA
feeder
chopper pit
Selene 1
Selene 2
middle
focus
optical / experimental
cave
sample position
Slides courtesy of
Artur Glavic <artur.glavic@psi.ch>

## Slide 16: ESTIA cave design
Slides courtesy of
Artur Glavic <artur.glavic@psi.ch>

## Slide 17: Multi-Blade prototype for ESTIA High-rate and -resolution detector
wires X
substrate
neutrons
θ
strips Y
10B4C
q = 5 degrees
neutrons
130mm
100mm
A cassette (unit)
32 wires
(front)
32 Strips
(back)
9 units
F. Piscitelli et al., Characterization of the Multi-Blade 10B-based detector at the CRISP reflectometer at ISIS, JINST 13 P05009 (2018).

## Slide 18: Multi-Blade prototype for ESTIA Test at CRISP reflectometer
MB detector
FEE
DAQ CAEN
MB detector
sample
2.3m
F. Piscitelli et al., Characterization of the Multi-Blade 10B-based detector at the CRISP reflectometer at ISIS, JINST 13 P05009 (2018).

## Slide 19: Multi-Blade prototype for ESTIA Results from CRISP reflectometer
sample
q
q
Multi-Blade
G. Mauri et al., Neutron reflectometry with the Multi-Blade 10B-based detector, Proc. R. Soc. A 474: 20180266 (2018).

## Slide 20: Outline
Why neutrons?
ESS construction
Neutron scattering Instruments
Spectroscopy
Reflectometry
SANS
Multi-Grid Detector
Multi-Blade Detector
SoNDe
Detector Development
Beyond initial instruments

## Slide 21: Neutron Spectroscopy: Time-of-Flight Spectrometers
Few meV to few eV energy range
Time-of-flight information
2-5 m sample to detector distance
 Energy transfer
20-40 m2 detector area
Position resolution O(1inch)
Momentum transfer
High dynamic range
Low background
n Ei, Qi
n Ef, Qf
Incident beam
Sample
Detected ToF spectrum
Detected image
IN5 at ILL

## Slide 22: CSPEC instrument design ToF vacuum tank with Multi-Grid detectors

## Slide 23: Multi-Grid: How it Works
n
Low cost for large area
Modular
High total efficiency
Many layers – lower local rate
No need for resistive readout – low gain
n
n
Introduced at ILL, jointly developed by ILL and ESS under CRISP project,
now under BrightnESS

## Slide 24: MG.SEQ prototype Design of the detector
1 m
3 detectors + 1 spare
3 modules per detector
40 grids per module
20 cell layers per grid

## Slide 25: MG.SEQ prototype Building 3 detectors in Utgård in Lund

## Slide 26: MG.SEQ prototype Installed in SEQUOIA at SNS, Oak Ridge National Lab

## Slide 27: MG.SEQ prototype Spectroscopy measurement
PRELIMINARY RESULTS

## Slide 28: 10B4C layer production Coating workshop in Linköping
Dedicated coating workshop in Linköping
Capacity to coat up to 400 blades per run (8-12 hours)
C. Höglund et al, J of Appl. Phys. 111, 104908 (2012)

## Slide 29: Outline
Why neutrons?
ESS construction
Neutron scattering Instruments
Spectroscopy
Reflectometry
SANS
Multi-Grid Detector
Multi-Blade Detector
SoNDe
Detector Development
Beyond initial instruments

## Slide 30: Small Angle Neutron Scattering, SANS SKADI instrument at ESS

## Slide 31: Detector system for SKADI
Develop a high-resolution neutron detector technique for enabling the construction of position-sensitive neutron detectors for high flux sources.
Detector for the SKADI instrument Requirements:
Count-rate rate capability of up to 20 MHz@10% dead time
Detection efficiency of 80% @ 5Å with a gamma suppression of 10 -5
Position resolution of 6 mm 2 , 3 mm 2 , 1 μs time resolution for TOF
Operation in vacuum, adaptable shape

## Slide 32: Detector for SKADI SoNDe detector
+
MA-PMT (H9500 or H12700)
+
IDEAS IDE3465
+FPGA
Grooved Li glass (GS20)
50x50mm 8x8 pixels
64 pixels
n + 6Li → t + α + 4.78 MeV

## Slide 33: Outline
Why neutrons?
ESS construction
Neutron scattering Instruments
Spectroscopy
Reflectometry
SANS
Multi-Grid Detector
Multi-Blade Detector
SoNDe
Detector Development
Beyond initial instruments

## Slide 34: Fundamental & Particle Physics @ ESS
Standard Model of particle physics (SM)
Precision experiments
Beyond SM
New interactions
Cold neutron
beamline (ANNI)
Neutron beta decay
Hadronic parity violation
Electromagnetic properties of the neutron
Neutron antineutron oscillation beamline (NNbar)
Baryon asymmetry of the Universe
UCN beamline
Gravity resonance spectroscopy
Neutron interferometry
Neutron beta decay
Full ESS Proposal, public user beamline, strong support by SAC, but not prioritized among first 15 instruments: instruments 16-22
Letter of intent,
cost ~ x 10 higher than
ESS instruments 1-22,
requires external funding
Letter of intent, public user beamline, after or alternatively to NNbar

## Slide 35: Fundamental & Particle Physics @ ESS
ODIN
DREAM
NMX
MIRACLES
BEER
C-SPEC
T-REX
MAGIC
BIFROST
HEIMDAL
FREIA
LoKI
SKADI
VESPA
ESTIA
VOR
15 (+1) Neutron Instruments (2025)
50 m
100 m
150 m
Proton beam
HR-NSE
Instruments 1-15; funded by NSS construction project (-2025)
Instruments 16-22; to be funded by initial operations (2019-2025), should include ANNI
ANNI
Space for ANNI reserved (cold neutron fundamental physics beamline), cost similar to other instruments
NNbar (letter of intent, significant additional funding required): possible
NNbar, UCN
NNbar

## Slide 36
Thank you!

## Slide 37: Multi-Blade prototype for ESTIA Test at CRISP reflectometer
Multi-Blade
Side view
70mm
262mm
262mm
upgrade

## Slide 38: MG.SEQ prototype Readout
Detector signal connected with flex PCBs
Analogue + Digital Front-end: Mesytec MMR
Back-end:
Mesytec VMMR, Struck SIS3153

## Slide 39: Multi-Grid detector for CSPEC
Neutrons

## Slide 40: MG.SEQ prototype Time-of-Flight measurement

## Slide 41: Time-of-Flight instruments Using choppers to select neutron energies
162m <336 Hz
108m <252 Hz
40 m
32 m
+Provision of T0 at 19 m