## Slide 1: News from the FREIA Test Facility
3rd International Workshop of the Superconducting Magnets Test Stand
Kévin Pepitone
Uppsala, June 11-12, 2019

## Slide 2: GERSEMI – Vertical cryostat
Test of SC cavities & magnets
  3.2m x ø1.1m total volume
  2.65m x ø1.1m below lambda plate
    design includes joint for lambda plate
Three operation modes
  vacuum
  liquid (saturated) bath
  pressurized bath with 2K heat exchanger

## Slide 3: GERSEMI - Cryostat re-assembly
21-Mar-2018 (P1040559)
28-Mar-2018 (P1040611)
24-May-2018 (P1040864)
29-May-2018 (P1040868)
29-May-2018 (P1040869)

## Slide 4: μGERSEMI simulator and valve box
“µGersemi” simulator
2-May-2018 (100442)
2-May-2018 (100425)
helium distribution
cold box
26-Sept-2018 (160359)
10-Dec-2018 (151453)
The cryogenic commissioning of the valve box with the simulator was conducted during the period from September 2018 to March 2019.
“µGersemi” simulator
60 l cryostat for system test

## Slide 5: Inserts
19-Mar-19 (083558)
19-Mar-19 (135545)
70 sensors (level sensor, CERNOX, Pt100)
2000 connections
5 km of cable
Liquid insert
Magnetic insert

## Slide 6: Inserts
19-Mar-19 (083558)
19-Mar-19 (135545)
70 sensors (level sensor, CERNOX, Pt100)
2000 connections
5 km of cable
Liquid Insert
Magnetic Insert

## Slide 7: Power converters and Energy extraction
Combo (COMmercial Based cOnverter) Power converter
2 x 2000 A
IGBT based energy extraction Later this year
Samer Yammine
14:50 Today
Bozhidar Panev
15:15 Today

## Slide 8: DAQ and magnet protection
Kévin Pepitone
16:30 Today

## Slide 9: Planning
MCBXF
Delivery of the current leads in the coming weeks
DAQ – DMM delivered in July
Commissioning of the, cryostat, current leads, PC and EE in September / October at warm and with a magnet
First magnet test
Training of the MCBXF magnets in 2020

## Slide 10: Thank you for your attention
Thank you to FREIA team to make GERSEMI possible