## Slide 2: Power Converters and Room Temperature Connections in SM18
Samer Yammine
3rd International Magnet Test Stand Workshop
2019-06-11

## Slide 3: Contents
Circuits for HL-LHC Magnet Tests at CERN
SM18 Cluster F Powering Upgrade
Room Temperature Connections
Conclusion

## Slide 4
1
Circuits for HL-LHC Magnet Tests at CERN

## Slide 5
HL-LHC Circuits at SM18
Power Converters for HL-LHC (in the Tunnel)
Type of Circuits for HL-LHC:
18 kA without EES
14 kA without EES
2 kA without EES
2 kA with EES
600 A with EES
200 A with EES
120 A without EES

## Slide 6
HL-LHC Circuits at SM18
Power Converters for Magnet Tests – High Current Converters
Cluster G
20kA-25V
Cluster A
20kA-61V
Cluster D
30kA-16V
Upgrade in 2017
Upgrade in 2016-2017
IN PLACE
For Horizontal Tests (without EES)
For Vertical Tests (with EES)
For Vertical Tests (with EES)

## Slide 7
HL-LHC Circuits at SM18
New Power Converter for 2 kA Corrector Circuits
Upgrade in 2017
Upgrade in 2016-2017
HL-LHC2kA-10V
4 Quadrants
Cluster D (With EES)
COMBO 2kA-10V
1 Quadrant
Cluster A (Without EES)
Cluster F (With EES)
Installed in SM18 and first tests done on MCBXFB
Delivery Date: 12-2019

## Slide 8
HL-LHC Circuits at SM18
Upgrade in 2016-2017
All SM18 Circuits after Powering Upgrade

## Slide 9
2
SM18 Cluster F Powering Upgrade

## Slide 10
New High Current Power Converter : Cluster F 20kA-26V
For SC Link and MQXF series tests
SM18 Cluster F Powering Upgrade

## Slide 11
New High Current Power Converter : Cluster F 20kA-26V
SM18 Cluster F Powering Upgrade
Factory Acceptance Test - Italy 2018
Quoting the company’s salesman: “The power converter that discovered the Higgs Boson”

## Slide 12
New High Current Power Converter : Cluster F 20kA-26V
SM18 Cluster F Powering Upgrade
Installation in SM18 - 2018

## Slide 13
New High Current Power Converter : Cluster F 20kA-26V
SM18 Cluster F Powering Upgrade
Successful Tests on Short Circuit till 20 kA
in beginning of 2019
The 20 kA powering tests (in short circuit) will end in S3 2019

## Slide 14
3
Room Temperature Connections

## Slide 15
Cables for High Current Connections in SM18
Room Temperature Connections
Courtesy of EN-EL

## Slide 16
Room Temperature Connections
Courtesy of EN-EL
Cables for High Current Connections in SM18

## Slide 17
Room Temperature Connections
Dimensional Constraints
400 mm
200 A & 120 A
2 kA
1000 mm
1200 mm
1300 mm
h
r
6 kA
13 kA & 18 kA
600 mm
600 A
Cable trays
Area reserved
for cable supports
Cables for circuits:
Intensity | Section [mm2] | h [mm] | r [mm] | Ext. Diam. [mm]
18 kA | 2x1300 | 500 | 800 | 2x95
13 kA | 2000 | 500 | 800 | 115
6 kA | 1000 | 500 | 700 | 95
2 kA | 500 | 500 | 500 | 70
600 A | 400 | 300 | 300 | 36
200 A | 95 | 200 | 200 | 25
120 A | 70 | 150 | 150 | 22
most significant constraints
Courtesy of EN-EL

## Slide 18
Room Temperature Connections
Magnetic DCCT Constraints on Cable Distances
DCCT current (A) | 20000 | 
DCCT radius (mm) | 310 | 
Type of return | double | 
Distance to centre bar (mm) | 800 | 750
Results | 10mm bar | 200mm bar
Field @centre (mT) | 0.1 | 0.1
Field @DCCT edge (mT) | 2.4 | 2.5
DCCT current (A) | 16000 | 
DCCT radius (mm) | 230 | 
Type of return | double | 
Distance to centre bar (mm) | 580 | 560
Results | 10mm bar | 200mm bar
Field @centre (mT) | 0.1 | 0.1
Field @DCCT edge (mT) | 2.5 | 2.5

## Slide 19
Room Temperature Connections
Cluster A – 20 kA
Cluster D – 30 kA
Cables to Leads Connection
Cluster F – 20 kA

## Slide 20
4
Conclusion

## Slide 21: Conclusion
Power converters family vary from 120 A to 30 kA to test HL-LHC magnets vertically and horizontally
Major work has been done in 2016-2019 for the upgrade of the power converters in SM18
Power converters will be completely installed by 2020
Parallel 500 mm2 water cooled cables are used for high current connections in SM18

## Slide 22: Thank you for your attention